## PV Modules
Appendix 2: Technical Specification Forms
PV Modules (flat-plate)
Attach datasheets
Manufacturer
Model #
PowerMAX Rating (Watts DC at STC)
Technology Type
Efficiency (at STC) (%)
Maximum System Voltage (V DC)
Nominal Operating Cell Temperature (°C)
Temperature Coefficient for Power (%/°C)
Total capacity (MW DC at STC) installed to-date of the proposed PV module
Manufacturing availability of proposed module over project construction and life of project
Statement on the selected vendor’s factory locations, capacities, labor availability and shift utilization.
Control and risk mitigation statement for any compound or chemical in selected panel deemed controlled or hazardous.
Detailed description of mechanism and effects including calculation of (any) initial light-­induced degradation effect for selected panel, including field trial data where available.
Describe any quality & environmental certification that the proposed module's manufacturing facility has received (e.g. ISO 9001, ISO 140001, or other certifying bodies)

## Wiring & Comb Boxes
Appendix 2: Technical Specification Forms
DC Wiring and Combiner Boxes
Attach datasheets
DC wiring voltage insulation design capability (600V, 1000V or higher)
List of proposed vendors
Statement on vendor capability to supply the necessary volumes and meet delivery schedules for the project

## Inverter
Appendix 2: Technical Specification Forms
Inverters
Attach datasheets
Manufacturer
Rating (Maximum Continuous AC output) | kW
V
Certification listing if applicable (e.g. UL 1741, ETL or other) | Y/N
Total harmonic distortion | %
Power factor at full power rating
Efficiency at full power rating
Total installed capacity of the selected inverter

## Switchgear
Appendix 2: Technical Specification Forms
Switchgear
Attach datasheets
1 | Manufacturer
2 | Ratings | kV
A
k AIC
kV BIL minimum
Phase
3 | Description of metering components
4 | Relay Manufacturer